## Main
rule_id | Label | ConceptID | Qctype | ValidValues | CrossVariableConceptID1 | CrossVariableConceptID1Value | CrossVariableConceptID2 | CrossVariableConceptID2Value | CrossVariableConceptID3 | CrossVariableConceptID3Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | Required | Notes from dictionary | Notes from QC process
1 | Serum Separator Tube 4 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_232343615_d_593843561 | 353358909 | d_650516960 | 664882224 | d_232343615_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
2 | Serum Separator Tube 1 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_299553921_d_593843561 | 353358909 | d_650516960 | 664882224 | d_299553921_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
3 | Serum Separator Tube 3 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_376960806_d_593843561 | 353358909 | d_650516960 | 664882224 | d_376960806_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
4 | EDTA Tube 1 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_454453939_d_593843561 | 353358909 | d_650516960 | 664882224 | d_454453939_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
5 | Serum Separator Tube 5 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_589588440_d_593843561 | 353358909 | d_650516960 | 664882224 | d_589588440_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
6 | EDTA Tube 2 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_677469051_d_593843561 | 353358909 | d_650516960 | 664882224 | d_677469051_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
7 | EDTA Tube 3 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_683613884_d_593843561 | 353358909 | d_650516960 | 664882224 | d_683613884_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
8 | Serum Separator Tube 2 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_703954371_d_593843561 | 353358909 | d_650516960 | 664882224 | d_703954371_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
9 | Heparin Tube 1 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_838567176_d_593843561 | 353358909 | d_650516960 | 664882224 | d_838567176_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
10 | Heparin Tube 2 Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_958646668_d_593843561 | 353358909 | d_650516960 | 664882224 | d_958646668_d_762124027 | 104430631 |  |  |  |  | If any indiviudal blood tubes collected=yes, blood tube discard flag=no, and collection setting=clinical, than BioClin_DBBloodRRL_v1r0 needs to be yes
11 | Henry Ford ACD Tube Collected DB | d_173836415_d_266600170_d_534041351 | crossValid3 | 353358909 | d_652357376_d_593843561 | 353358909 | d_650516960 | 664882224 | d_652357376_d_762124027 | 104430631 | d_827220437 | 548392715 |  |  | If any indiviudal blood tubes collected=yes than BioClin_DBBloodRRL_v1r0 needs to be yes. This applies to hybrid settings as well; this rule is specifically for Henry Ford
12 | Dashboard Clinical Urine Accession ID No | d_173836415_d_266600170_d_210921343 | NA or crossValid2 | 104430631 | d_973670172_d_593843561 | 104430631 | d_650516960 | 664882224 | [6 empty] | If all individual urine tubes are Collected = No, and collection setting = clinical, then BioClin_DBUrineRRL_v1r0 needs to be no
13 | DB Urine Tube 1 Collected No | d_973670172_d_593843561 | crossValid2 | 104430631 | d_173836415_d_266600170_d_210921343 | 104430631 | d_650516960 | 664882224 | [6 empty] | If derived variable from dashboard BioClin_DBUrineRRL_v1r0=no, all individual urine tubes are Collected must = No
14 | Dashboard Clinical Urine Accession ID Yes | d_173836415_d_266600170_d_210921343 | crossValid3 | 353358909 | d_973670172_d_593843561 | 353358909 | d_650516960 | 664882224 | d_973670172_d_762124027 | 104430631 |  |  |  |  | If Urine tube marked as collected with no discard flag in the Biospecimen Dashboard and setting=clinical, then BioClin_DBUrineRRL_v1r0=yes
15 | DB Urine Tube 1 Collected Yes | d_973670172_d_593843561 | crossValid2 | 353358909 | d_173836415_d_266600170_d_210921343 | 353358909 | d_650516960 | 664882224 | [6 empty] | If collection setting=clinical and BioClin_DBUrineRRL_v1r0=YES, all individual urine tubes are Collected must = YES
18 | SIte Urine Tube 1 Collected No | d_973670172_d_593843561 | crossValid1 | 104430631 | d_173836415_d_266600170_d_786930107 | 104430631 | [8 empty] | If BioClin_SiteUrineColl_v1r0 = NO, any individual urine tubes say collected must = NO
19 | Blood Location ID B | d_173836415_d_266600170_d_185243482 | crossValid1 is populated |  | d_173836415_d_266600170_d_693370086 | 353358909 | [8 empty] | BioClin_SiteBlLocation_v1r0 should not be null if BioClin_SiteBloodColl_v1r0 = Yes (we should not be missing sample collection location for any sample KP says was collected)
20 | Urine Location ID B | d_173836415_d_266600170_d_452847912 | crossValid1 is populated |  | d_173836415_d_266600170_d_786930107 | 353358909 | [8 empty] | BioClin_SiteUrLocation_v1r0 should not be null if BioClin_SiteUrineColl_v1r0 = Yes
21 | Serum Separator Tube 4 Collected BS | d_878865966 | crossValid2 | 353358909 | d_232343615_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
22 | Serum Separator Tube 1 Collected BS | d_878865966 | crossValid2 | 353358909 | d_299553921_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
23 | Serum Separator Tube 3 Collected BS | d_878865966 | crossValid2 | 353358909 | d_376960806_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
24 | EDTA Tube 1 Collected BS | d_878865966 | crossValid2 | 353358909 | d_454453939_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
25 | Serum Separator Tube 5 Collected BS | d_878865966 | crossValid2 | 353358909 | d_589588440_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
26 | EDTA Tube 2 Collected BS | d_878865966 | crossValid2 | 353358909 | d_677469051_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
27 | EDTA Tube 3 Collected BS | d_878865966 | crossValid2 | 353358909 | d_683613884_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
28 | Serum Separator Tube 2 Collected BS | d_878865966 | crossValid2 | 353358909 | d_703954371_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
29 | Heparin Tube 1 Collected BS | d_878865966 | crossValid2 | 353358909 | d_838567176_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
30 | Heparin Tube 2 Collected BS | d_878865966 | crossValid2 | 353358909 | d_958646668_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
31 | ACD Tube 1 Collected BS | d_878865966 | crossValid2 | 353358909 | d_652357376_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline and any blood tube is collected, then the baseline blood is maked as collected
32 | Urine Tube 1 Collected YES BS | d_167958071 | crossValid2 | 353358909 | d_973670172_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | If the visit type is Baseline, and the urine tube is collected, then the baseline urine is maked as collected
33 | Urine Tube 1 Collected NO BS | d_167958071 | crossValid1 | 104430631 | d_973670172_d_593843561 | 104430631 | [8 empty] | If the urine tube is not collected, then BioFin_BaseUrineCol_v1r0 must be no
34 | All baseline samples collected NO1 | d_254109640 | NA or crossValid1 | 104430631 | d_878865966 | 104430631 | [8 empty] | If BioFin_BaseBloodCol_v1r0=no, SMMet_BLSamplesColl_v1r0 must=no
35 | All baseline samples collected NO2 | d_254109640 | NA or crossValid1 | 104430631 | d_167958071 | 104430631 | [8 empty] | If BioFin_BaseUrineCol_v1r0=no, SMMet_BLSamplesColl_v1r0 must=no
36 | KP Clinical_Site Blood Collected DB Match 2 | d_173836415_d_266600170_d_693370086 | NA or crossValid1 | 104430631 | d_173836415_d_266600170_d_534041351 | 104430631 | [8 empty] | If BioClin_DBBloodRRLBL_v1r0=no, then BioClin_BioClin_SiteBloodCollBL_v1r0 must be no
37 | KP Clinical Site Urine Collected DB Match 2 | d_173836415_d_266600170_d_786930107 | NA or crossValid1 | 104430631 | d_173836415_d_266600170_d_210921343 | 104430631 | [8 empty] | If BioClin_DBUrineRRLBL_v1r0=no, then BioClin_SiteUrineCollBL_v1r0 must be no
38 | Clinical Site Blood RRL Date / Time Received HP | d_173836415_d_266600170_d_822274939 | NA or crossvalid before date() | d_664453818 | d_153713899 | 353358909 | [8 empty] | If HIPAA revocation signed= yes, then BioClin_SiteBldRRLDt_v1r0 must be equivalent to HdRef_DateHIPAArevoked_v1r0 | Any sample collected after HIPAA revocation date
39 | Clinical Site Blood RRL Date / Time Received WD | d_173836415_d_266600170_d_822274939 | NA or crossvalid before date() | d_659990606 | d_747006172 | 353358909 | [8 empty] | If HdWd_WdConsent_v1r0= yes, then BioClin_SiteBldRRLDt_v1r0 must be equivalent to HdWd_WdConsentDt_v1r0 | Any sample collected after withdrawn date
40 | BioClin_ClinBloodTmBL_v1r0 < BioClin_DBBloodRRLDtBL_v1r0 | d_173836415_d_266600170_d_982213346 | NA or crossvalid before date() | d_173836415_d_266600170_d_398645039 | d_173836415_d_266600170_d_534041351 | 353358909 | [8 empty] | IF BioClin_DBBloodRRL_v1r0 = 1, BioClin_ClinBloodTmBL_v1r0 must be populated with a date prioir to BioClin_DBBloodRRLDtBL_v1r0
41 | BioClin_ClinicalUrnTmBL_v1r0 < BioClin_DBUrineRRLDtBL_v1r0 | d_173836415_d_266600170_d_139245758 | NA or crossvalid before date() | d_173836415_d_266600170_d_541311218 | d_173836415_d_266600170_d_210921343 | 353358909 | [8 empty] | IF BioClin_DBUrineRRL_v1r0 = 1, BioClin_ClinicalUrnTmBL_v1r0 must be populated with a date prioir to BioClin_DBUrineRRLDtBL_v1r0
42 | KP Clinical_Site Blood Collected DB Match 1 | d_173836415_d_266600170_d_534041351 | crossValid1 | 353358909 | d_173836415_d_266600170_d_693370086 | 353358909 | [8 empty] | If BioClin_SiteBloodCollBL_v1r0=yes, then BioClin_DBBloodRRLBL_v1r0 must =yes
43 | KP Clinical Site Urine Collected DB Match 1 | d_173836415_d_266600170_d_210921343 | crossValid1 | 353358909 | d_173836415_d_266600170_d_786930107 | 353358909 | [8 empty] | If BioClin_SiteUrineCollBL_v1r0=yes, then BioClin_DBUrineRRLBL_v1r0 must = yes
44 | Any clinical blood or urine sample received (NO) | d_173836415_d_266600170_d_156605577 | crossValid4 | 104430631 | d_173836415_d_266600170_d_693370086 | 104430631 | d_173836415_d_266600170_d_786930107 | 104430631 | d_173836415_d_266600170_d_534041351 | 104430631 | d_173836415_d_266600170_d_210921343 | 104430631 |  |  | If BioClin_SiteBloodColl_v1r0 = 0 AND BioClin_SiteUrineColl_v1r0 = 0 AND BioClin_DBBloodRRL_v1r0 = 0 AND BioClin_DBUrineRRL_v1r0 = 0 THEN BioClin_AnyBldUrineRec_v1r0 = 0
45 | Any clinical blood or urine sample received (Yes1) | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_693370086 | 353358909 | [8 empty] | If BioClin_SiteBloodColl_v1r0 = 1 than BioClin_AnyBldUrineRec_v1r0=1
46 | Any clinical blood or urine sample received (Yes2) | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_786930107 | 353358909 | [8 empty] | If BioClin_SiteUrineColl_v1r0 = 1 than BioClin_AnyBldUrineRec_v1r0=1
47 | Any clinical blood or urine sample received (Yes3) | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_534041351 | 353358909 | [8 empty] | If BioClin_DBBloodRRL_v1r0 = 1 than BioClin_AnyBldUrineRec_v1r0=1
48 | Any clinical blood or urine sample received (Yes4) | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_210921343 | 353358909 | [8 empty] | If BioClin_DBBloodRRL_v1r0 = 1 than BioClin_AnyBldUrineRec_v1r0=1
49 | Blood Location ID A | d_173836415_d_266600170_d_185243482 | NA or equal to or less than char() | 10 | [10 empty] | Blood Location ID must be 10 characters or less
50 | Sent Clinical Urine accession ID | d_173836415_d_266600170_d_198261154 | NA or equal to or less than char() | 30 | [10 empty] | Clinical Urine accession ID sent from KP must be 30 characters or less
51 | Clinical DB Urine RRL received | d_173836415_d_266600170_d_210921343 | NA or crossValid1 | 104430631, 353358909 | d_973670172_d_593843561 | 353358909 | [8 empty] | If the Urine tube is collected, than BioClin_DBUrineRRL_v1r0 must be yes or no or null
52 | Clinical Site Urine RRL Date / Time Received | d_173836415_d_266600170_d_224596428 | crossValid1Date |  | d_173836415_d_266600170_d_453452655 | 353358909 | [8 empty] | If BioClin_SiteUrineRRL_v1r0 is yes, then BioClin_SiteUrnRRLDt must be populated
53 | Any specimen collected at RRL A | d_173836415_d_266600170_d_316824786 | NA or crossValid1 | 353358909 | d_173836415_d_266600170_d_534041351 | 353358909 | [8 empty] | If BioClin_DBBloodRRLBL_v1r0=yes, BioClin_AnySpecRRL_v1r0 must be yes or null
54 | Any specimen collected at RRL B | d_173836415_d_266600170_d_316824786 | NA or crossValid1 | 353358909 | d_173836415_d_266600170_d_210921343 | 353358909 | [8 empty] | If any clinical urine scanned into our Biospecimen Dashboard, BioClin_AnySpecRRL_v1r0=1
55 | Sent Clinical Blood accession ID | d_173836415_d_266600170_d_341570479 | NA or equal to or less than char() | 30 | [10 empty] | Clinical Blood accession ID sent from KP must be 30 characters or less
56 | Clinical DB blood RRL Date/Time Received | d_173836415_d_266600170_d_398645039 | crossValid1Date |  | d_534041351 | 353358909 | [8 empty] | If BioClin_AnySpecRRL=yes, then BioClin_DBBloodRRLDt must be populated
57 | Urine Location ID A | d_173836415_d_266600170_d_452847912 | NA or equal to or less than char() | 10 | [10 empty] | BioClin_DBBloodRRLDtmust be 10 characters or less
58 | Clinical Site Urine RRL Received | d_173836415_d_266600170_d_453452655 | NA or valid | 104430631, 353358909 | [10 empty] | BioClin_SiteUrineRRL can only be yes, no or null
59 | Blood Order Placed Repsonse | d_173836415_d_266600170_d_530173840 | NA or valid | 104430631, 353358909 | [10 empty] | BioClin_BldOrderPlcd can only be yes, no or null
60 | Clinical DB Blood RRL Received | d_173836415_d_266600170_d_534041351 | NA or valid | 104430631, 353358909 | [10 empty] | BioClin_DBBloodRRL can only be yes, no or null
61 | Clinical DB urine RRL Date/Time received | d_173836415_d_266600170_d_541311218 | crossValid1Date |  | d_173836415_d_266600170_d_210921343 | 353358909 | [8 empty] | If BioClin_DBUrineRRL=yes, then BioClin_DBUrineRRLDt must be populated
62 | Dashboard clinical blood accession ID | d_646899796 | crossValid 1 equal to or less than char() | 30 | d_827220437 | 125001209, 327912200, 300267574, 452412599 | [8 empty] | If the site of collection is KP, then the accession key must be populated and no more than 30 characters
63 | Clinical Site Blood Collected | d_173836415_d_266600170_d_693370086 | NA or valid | 104430631, 353358909 | [10 empty] | BioClin_SiteBloodColl must have a value of yes, no or null
64 | Clinical_Site Blood RRL Received | d_173836415_d_266600170_d_728696253 | NA or valid | 104430631, 353358909 | [10 empty] | BioClin_SiteBloodRRL must have a value of yes, no or null
65 | Autogenerated date/time stamp for Any specimen collected at RRL | d_173836415_d_266600170_d_740582332 | crossValid1Date |  | d_173836415_d_266600170_d_316824786 | 353358909 | [8 empty] | IF BioClin_AnySpecRRL_v1r0 = 1 THEN BioClin_AnySpecRRLTm_v1r0 must be populated
66 | Clinical_Site Urine Collected | d_173836415_d_266600170_d_786930107 | NA or crossValid1 | 104430631, 353358909 | d_173836415_d_266600170_d_860477844 | 353358909 | [8 empty] | If BioClin_UrnOrdPlacedBL_v1r0=yes, the only valid values for BioClin_SiteUrineCollBL_v1r0 are yes, no and null
67 | Clinical Site Blood RRL Date / Time Received | d_173836415_d_266600170_d_822274939 | crossValid1Date |  | d_173836415_d_266600170_d_728696253 | 353358909 | [8 empty] | If BioClin_SiteBloodRRLBL_v1r0=yes, then BioClin_SiteBldRRLDtBL_v1r0 must be populated
68 | Urine Order Placed Yes/No | d_173836415_d_266600170_d_860477844 | NA or valid | 104430631, 353358909 | [10 empty] | Valid values for BioClin_UrnOrdPlacedBL_v1r0 are yes, no, or null
69 | Baseline blood order placed or baseline urine order placed Yes | d_173836415_d_266600170_d_880794013 | crossValid2 | 353358909 | d_173836415_d_266600170_d_530173840 | 353358909 | d_173836415_d_266600170_d_860477844 | 353358909 | [6 empty] | If BioClin_BldOrderPlcdBL_v1r0 and BioClin_UrnOrdPlacedBL_v1r0 are yes, then BioClin_BldOrUrnPlcdBL_v1r0 must be yes
70 | Baseline blood order placed or baseline urine order placed No | d_173836415_d_266600170_d_880794013 | crossValid2 | 104430631 | d_173836415_d_266600170_d_530173840 | 104430631 | d_173836415_d_266600170_d_860477844 | 104430631 | [6 empty] | If BioClin_BldOrderPlcdBL_v1r0 and BioClin_UrnOrdPlacedBL_v1r0 are no, then BioClin_BldOrUrnPlcdBL_v1r0 must be no
71 | Baseline blood order placed or baseline urine order placed Yes2 | d_173836415_d_266600170_d_880794013 | crossValid2 | 353358909 | d_173836415_d_266600170_d_530173840 | 353358909 | d_173836415_d_266600170_d_860477844 | 104430631 | [6 empty] | If BioClin_BldOrderPlcdBL_v1r0=yes and BioClin_UrnOrdPlacedBL_v1r0 =no, then BioClin_BldOrUrnPlcdBL_v1r0 must be no
72 | Baseline blood order placed or baseline urine order placed Yes3 | d_173836415_d_266600170_d_880794013 | crossValid2 | 353358909 | d_173836415_d_266600170_d_530173840 | 104430631 | d_173836415_d_266600170_d_860477844 | 353358909 | [6 empty] | If BioClin_BldOrderPlcdBL_v1r0=no and BioClin_UrnOrdPlacedBL_v1r0 =yes, then BioClin_BldOrUrnPlcdBL_v1r0 must be no
73 | Date/Time Urine Order Placed | d_173836415_d_266600170_d_939818935 | crossValid1Date |  | d_173836415_d_266600170_d_860477844 | 353358909 | [8 empty] | If BioClin_UrnOrdPlacedBL_v1r0=yes then BioClin_UrnOrdPlcdDtBL_v1r0 must be populated
74 | Date/time Clinical Blood Collected | d_173836415_d_266600170_d_982213346 | NA or crossValid1Date |  | d_878865966 | 353358909 | [8 empty] | If BioFin_BaseBloodCol_v1r0=yes then BioClin_UrnOrdPlcdDtBL_v1r0 must be populated with a date or null value
76 | Check-In Complete | d_331584571_d_266600170_d_135591601 | NA or valid | 104430631, 353358909 | [10 empty] | Valid values of BioChk_CompleteBL_v1r0 are yes, no or na
90 | Collection Setting | d_650516960 | valid | 534621077, 664882224, 103209024 | [10 empty] | Collection setting must be research, clinical, or home. Cannot be null
91 | Basline Blood Collection Setting Research Match | d_173836415_d_266600170_d_592099155 | crossValid2 | 534621077 | d_878865966 | 353358909 | d_650516960 | 534621077 | [6 empty] | If BioFin_BaseBloodCol_v1r0=yes (any blood tube collected) and BioSpm_Setting_v1r0 is research then BioSpm_BloodSetting_v1r0=research
92 | Baseline Urine Collection Setting Research Match | d_173836415_d_266600170_d_718172863 | crossValid2 | 534621077 | d_973670172_d_593843561 | 353358909 | d_650516960 | 534621077 | [6 empty] | If urine tube is collected and the collection setting is Research, then the urine collection setting must be Research
93 | Baseline Mouthwash Collection Setting Research Match | d_173836415_d_266600170_d_915179629 | crossValid2 | 534621077 | d_143615646_d_593843561 | 353358909 | d_650516960 | 534621077 | [6 empty] | If mouthwash is collected and the collection setting is Research, then the mouthwash collection setting must be Research
94 | Basline Blood Collection Setting Clinical Match | d_173836415_d_266600170_d_592099155 | crossValid2 | 664882224 | d_878865966 | 353358909 | d_650516960 | 664882224 | [6 empty] | If BioFin_BaseBloodCol_v1r0=yes (any blood tube collected) and BioSpm_Setting_v1r0 =clinical then BioSpm_BloodSetting_v1r0=clinical
95 | Baseline Urine Collection Setting Clinical Match | d_173836415_d_266600170_d_718172863 | crossValid2 | 664882224 | d_167958071 | 353358909 | d_650516960 | 664882224 | [6 empty] | If urine tube is collected and the collection setting is Clinical, then the urine collection setting is Clincial
96 | Select Visit | d_331584571 | valid | 266600170, 496823485, 650465111, 303552867 | [10 empty] | Select visit value must be baseline, follow up 1, follow up 2, or follow up 3
99 | (Autogenerated) Date/Time Baseline Check-In Complete | d_331584571_d_266600170_d_840048338 | crossValid1Date |  | d_331584571_d_266600170_d_135591601 | 353358909 | [8 empty] | If BioChk_CompleteBL_v1r0 is yes then BioChk_TimeBL_v1r0 must be a valid timestamp
100 | (Autogenerated) Time Baseline check out complete | d_331584571_d_266600170_d_343048998 | crossValid1Date |  | d_331584571_d_266600170_d_135591601 | 104430631 | [8 empty] | If BioChk_CompleteBL_v1r0 is no, then BioFin_CheckOutTmBL_v1r0 must be a valid timestamp
101 | (Autogenerated) Date/time Baseline Mouthwash Collected | d_173836415_d_266600170_d_448660695 | crossValid1Date |  | d_684635302 | 353358909 | [8 empty] | If BioFin_BaseMouthCol_v1r0 is yes then BioFin_BMTimeBL_v1r0 must be a valid timestamp
102 | (Autogenerated) Date/Time Collection Entry Finalized | d_556788178 | crossValid1Date |  | d_410912345 | 353358909 | [8 empty] | If BioRec_CollectFinal_v1r0 ies yes, then BioRec_CollectFinalTime_v1r0 must be a valid timestamp
103 | Collection ID | d_820476880 | NA or equal to or less than char() | 9 | [10 empty] | Collection ID must be 9 characters or lessin length
104 | MW Tube 1- Tube ID | d_143615646_d_825582494 | crossValid1 equal to or less than char() | 14 | d_143615646_d_593843561 | 353358909 | [8 empty] | If MW Tube 1- is collected then Tube ID must be be 14 charcters or less in length
105 | Serum Separator Tube 1- Tube ID | d_299553921_d_825582494 | crossValid1 equal to or less than char() | 14 | d_299553921_d_593843561 | 353358909 | [8 empty] | If Serum Separator Tube 1- is collected then Tube ID must be be 14 charcters or less in length
106 | Biohazard Bag MW- Tube ID | d_223999569_d_825582494 | crossValid1 equal to or less than char() | 14 | d_223999569_d_593843561 | 353358909 | [8 empty] | If Biohazard Bag MW- is collected then Tube ID must be be 14 charcters or less in length
107 | EDTA Tube 1- Tube ID | d_454453939_d_825582494 | crossValid1 equal to or less than char() | 14 | d_454453939_d_593843561 | 353358909 | [8 empty] | If EDTA Tube 1- is collected then Tube ID must be be 14 charcters or less in length
108 | ACD Tube 1- Tube ID | d_652357376_d_825582494 | crossValid1 equal to or less than char() | 14 | d_652357376_d_593843561 | 353358909 | [8 empty] | If ACD Tube 1- is collected then Tube ID must be be 14 charcters or less in length
109 | Serum Separator Tube 2- Tube ID | d_703954371_d_825582494 | crossValid1 equal to or less than char() | 14 | d_703954371_d_593843561 | 353358909 | [8 empty] | If Serum Separator Tube 2- is collected then Tube ID must be be 14 charcters or less in length
110 | Biohazard Bag BlU- Tube ID | d_787237543_d_825582494 | crossValid1 equal to or less than char() | 14 | d_787237543_d_593843561 | 353358909 | [8 empty] | If Biohazard Bag BlU- is collected then Tube ID must be be 14 charcters or less in length
111 | Heparin Tube 1- Tube ID | d_838567176_d_825582494 | crossValid1 equal to or less than char() | 14 | d_838567176_d_593843561 | 353358909 | [8 empty] | If Heparin Tube 1- is collected then Tube ID must be be 14 charcters or less in length
112 | Urine Tube 1- Tube ID | d_973670172_d_825582494 | crossValid1 equal to or less than char() | 14 | d_973670172_d_593843561 | 353358909 | [8 empty] | If Urine Tube 1- is collected then Tube ID must be be 14 charcters or less in length
113 | Baseline Mouthwash Collected A | d_684635302 | crossValid2 | 353358909 | d_143615646_d_593843561 | 353358909 | d_331584571 | 266600170 | [6 empty] | IF the visit type is Baseline, and the mouthwash sample is collected, then the baseline mouthwash must be maked as collected
114 | Baseline Mouthwash Collected B | d_684635302 | crossValid1 | 104430631 | d_143615646_d_593843561 | 104430631 | [8 empty] | If the mouthwash tube was not collected, BioFin_BaseMouthCol_v1r0 must be no
115 | Baseline Check-In Complete | d_331584571_d_266600170_d_135591601 | NA or valid | 353358909, 104430631 | [10 empty] | BioChk_CompleteBL_v1r0 must be yes, no, or null
116 | Collection ID Manually Entered | d_387108065 | NA or valid | 353358909, 104430631 | [10 empty] | BioSpm_ColIDEntered_v1r0 must be yes, no, or null
117 | Collection Entry Finalized | d_410912345 | NA or valid | 353358909, 104430631 | [10 empty] | BioRec_CollectFinal_v1r0 must be yes, no, or null
118 | MW Tube 1- Tube Collected | d_143615646_d_593843561 | NA or valid | 353358909, 104430631 | [10 empty] | MW tube collection must be yes, no, or null
119 | MW Tube 1- Deviation | d_143615646_d_678857215 | NA or valid | 353358909, 104430631 | [10 empty] | MW deviation flag must be yes, no, or null
120 | MW Tube 1- Discard Flag | d_143615646_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_248868659_d_472864016 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwash discard flag must be yes, no, or null
121 | Mouthwash Tube 1- Deviation Mislabeled Resolved | d_143615646_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwash Deviation Mislabeled Resolved must be yes, no, or null
122 | Mouthwash Tube 1- Deviation Outside Contaminated | d_143615646_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, Deviation Outside Contaminated must be yes, no, or null
123 | Mouthwash Tube 1- Deviation Other | d_143615646_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwash Deviation Other must be yes, no, or null
124 | Mouthwash Tube 1- Deviation Broken | d_143615646_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwash Deviation Broken flag must be yes, no, or null
125 | Mouthwash Tube 1- Deviation Mislabeled Discard | d_143615646_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwashDeviation Mislabeled Discard flag must be yes, no, or null
126 | Mouthwash Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) | d_143615646_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwash Deviation Low Volume flag must be yes, no, or null
127 | Mouthwash Tube 1- Deviation MW < 30s | d_143615646_d_248868659_d_742806035 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwash Deviation MW < 30s flag must be yes, no, or null
128 | Mouthwash Tube 1- Deviation Leaked/Spilled | d_143615646_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_143615646_d_678857215 | 353358909 | [8 empty] | If the MW deviation flag is yes, mouthwash Deviation Leaked/Spilled flag must be yes, no, or null
129 | Mouthwash Tube 1- Deviation Not Found | d_143615646_d_248868659_d_982885431 | NA or valid | 353358909, 104430631 | [10 empty] | Mouthwash Tube 1- Deviation Not Found must be yes, no or null
130 | Biohazard Bag MW- Tube Collected | d_223999569_d_593843561 | NA or valid | 353358909, 104430631 | [10 empty] | Biohazard Bag MW- Tube Collected must be yes, no, or null
131 | Serum Separator Tube 1- Tube Collected | d_299553921_d_593843561 | valid | 353358909, 104430631 | [10 empty] | Serum Separator Tube 1- Tube Collected must be yes or no, can't be null
132 | Serum Separator Tube 1- Deviation | d_299553921_d_678857215 | NA or valid | 353358909, 104430631 | [10 empty] | Serum Separator Tube 1- Deviation must be yes, no or null
133 | Serum Separator Tube 1- Discard Flag | d_299553921_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_248868659_d_472864016 | 353358909 | [8 empty] | If BioCol_Dev_v1r0_BrokenSST1 is yes then the SST1 discard flag must be yes, no or null
134 | Serum Separator Tube 1- Deviation Centrifuge Too Short | d_299553921_d_248868659_d_102695484 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Centrifuge Too Short must be yes, no, or null
135 | Serum Separator Tube 1- Deviation Hemolyzed | d_299553921_d_248868659_d_242307474 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Hemolyzed must be yes, no, or null
136 | Serum Separator Tube 1- Deviation Mislabeled Resolved | d_299553921_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Mislabeled Resolved must be yes, no, or null
137 | Serum Separator Tube 1- Deviation Outside Contaminated | d_299553921_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Outside Contaminated must be yes, no, or null
138 | Serum Separator Tube 1- Deviation Other | d_299553921_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Other must be yes, no, or null
139 | Serum Separator Tube 1- Deviation Broken | d_299553921_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Broken must be yes, no, or null
140 | Serum Separator Tube 1- Deviation Temperature Too Low | d_299553921_d_248868659_d_550088682 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Temperature Too Low must be yes, no, or null
141 | Serum Separator Tube 1- Deviation Cent Low | d_299553921_d_248868659_d_561005927 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Cent Low must be yes, no, or null
142 | Serum Separator Tube 1- Deviation Broken Gel | d_299553921_d_248868659_d_635875253 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Broken Gel must be yes, no, or null
143 | Serum Separator Tube 1- Deviation Centrifuge Too Long | d_299553921_d_248868659_d_654002184 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Centrifuge Too Long must be yes, no, or null
144 | Serum Separator Tube 1- Deviation Mislabeled Discard | d_299553921_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Mislabeled Discard must be yes, no, or null
145 | Serum Separator Tube 1- Deviation Temperature Too High | d_299553921_d_248868659_d_690540566 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Temperature Too High must be yes, no, or null
146 | Serum Separator Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) | d_299553921_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) must be yes, no, or null
147 | Serum Separator Tube 1- Deviation Leaked/Spilled | d_299553921_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Leaked/Spilled must be yes, no, or null
148 | Serum Separator Tube 1- Deviation Tube Size | d_299553921_d_248868659_d_777486216 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Tube Size must be yes, no, or null
149 | Serum Separator Tube 1- Deviation Discard | d_299553921_d_248868659_d_810960823 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Discard must be yes, no, or null
150 | Serum Separator Tube 1- Deviation Cent High | d_299553921_d_248868659_d_861162895 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Cent High must be yes, no, or null
151 | Serum Separator Tube 1- Deviation Clot > 2h | d_299553921_d_248868659_d_912088602 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Clot > 2h must be yes, no, or null
152 | Serum Separator Tube 1- Deviation Clot < 30min | d_299553921_d_248868659_d_937362785 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Clot < 30min must be yes, no, or null
153 | Serum Separator Tube 1- Deviation Not Found | d_299553921_d_248868659_d_982885431 | NA or crossValid1 | 353358909, 104430631 | d_299553921_d_678857215 | 353358909 | [8 empty] | IF SST1 dviation flag is yes then Serum Separator Tube 1- Deviation Not Found must be yes, no, or null
154 | EDTA Tube 1- Tube Collected | d_454453939_d_593843561 | valid | 353358909, 104430631 | [10 empty] | EDTA Tube 1- Tube Collected must be yes or no, cannot be null
155 | EDTA Tube 1- Deviation | d_454453939_d_678857215 | NA or valid | 353358909, 104430631 | [10 empty] | EDTA Tube 1- Deviation must be yes, no or null
156 | EDTA Tube 1- Discard Flag | d_454453939_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_248868659_d_472864016 | 353358909 | [8 empty] | If BioCol_Dev_v1r0_BrokenEDTAT1 is yes, then EDTA Tube 1- Discard Flag must be yes, no or null
157 | EDTA Tube 1- Deviation Hemolyzed | d_454453939_d_248868659_d_242307474 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Hemolyzed must be yes, no, or null.
158 | EDTA Tube 1- Deviation Mislabeled Resolved | d_454453939_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Mislabeled Resolved must be yes, no, or null.
159 | EDTA Tube 1- Deviation Outside Contaminated | d_454453939_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Outside Contaminated must be yes, no, or null.
160 | EDTA Tube 1- Deviation Other | d_454453939_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Other must be yes, no, or null.
161 | EDTA Tube 1- Deviation Broken | d_454453939_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Broken must be yes, no, or null.
162 | EDTA Tube 1- Deviation Temperature Too Low | d_454453939_d_248868659_d_550088682 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Temperature Too Low must be yes, no, or null.
163 | EDTA Tube 1- Deviation Mislabeled Discard | d_454453939_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Mislabeled Discard must be yes, no, or null.
164 | EDTA Tube 1- Deviation Temperature Too High | d_454453939_d_248868659_d_690540566 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Temperature Too High must be yes, no, or null.
165 | EDTA Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) | d_454453939_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) must be yes, no, or null.
166 | EDTA Tube 1- Deviation Leaked/Spilled | d_454453939_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Leaked/Spilled must be yes, no, or null.
167 | EDTA Tube 1- Deviation Tube Size | d_454453939_d_248868659_d_777486216 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Tube Size must be yes, no, or null.
168 | EDTA Tube 1- Deviation Discard | d_454453939_d_248868659_d_810960823 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Discard must be yes, no, or null.
169 | EDTA Tube 1- Deviation Not Found | d_454453939_d_248868659_d_982885431 | NA or crossValid1 | 353358909, 104430631 | d_454453939_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_EDTAT1=yes, then EDTA Tube 1- Deviation Not Found must be yes, no, or null.
170 | ACD Tube 1- Tube Collected | d_652357376_d_593843561 | valid | 353358909, 104430631 | [10 empty] | ACD Tube 1- Tube Collected must be yes or no, cannot be null
171 | ACD Tube 1- Deviation | d_652357376_d_678857215 | NA or crossValid1 | 353358909, 104430631 | [10 empty] | ACD Tube 1- Deviation must be yes, no or null
172 | ACD Tube 1- Discard Flag | d_652357376_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_248868659_d_472864016 | 353358909 | [8 empty] | If BioCol_Dev_v1r0_BrokenACDT1=yes, then ACD Tube 1- Discard Flag must be yes, no, or null
173 | ACD Tube 1- Deviation Hemolyzed | d_652357376_d_248868659_d_242307474 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Hemolyzedmust be yes, no, or null
174 | ACD Tube 1- Deviation Mislabeled Resolved | d_652357376_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Mislabeled Resolvedmust be yes, no, or null
175 | ACD Tube 1- Deviation Outside Contaminated | d_652357376_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Outside Contaminatedmust be yes, no, or null
176 | ACD Tube 1- Deviation Other | d_652357376_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Othermust be yes, no, or null
177 | ACD Tube 1- Deviation Broken | d_652357376_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Brokenmust be yes, no, or null
178 | ACD Tube 1- Deviation Temperature Too Low | d_652357376_d_248868659_d_550088682 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Temperature Too Lowmust be yes, no, or null
179 | ACD Tube 1- Deviation Mislabeled Discard | d_652357376_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Mislabeled Discardmust be yes, no, or null
180 | ACD Tube 1- Deviation Temperature Too High | d_652357376_d_248868659_d_690540566 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Temperature Too Highmust be yes, no, or null
181 | ACD Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) | d_652357376_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Low Volume-(tube/container partially filled but still usable)must be yes, no, or null
182 | ACD Tube 1- Deviation Leaked/Spilled | d_652357376_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Leaked/Spilledmust be yes, no, or null
183 | ACD Tube 1- Deviation Tube Size | d_652357376_d_248868659_d_777486216 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Tube Sizemust be yes, no, or null
184 | ACD Tube 1- Deviation Discard | d_652357376_d_248868659_d_810960823 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Discardmust be yes, no, or null
185 | ACD Tube 1- Deviation Not Found | d_652357376_d_248868659_d_982885431 | NA or crossValid1 | 353358909, 104430631 | d_652357376_d_678857215 | 353358909 | [8 empty] | if BioCol_Deviation_v1r0_ACDT1 =yes, then ACD Tube 1- Deviation Not Foundmust be yes, no, or null
186 | Serum Separator Tube 2- Tube Collected | d_703954371_d_593843561 | valid | 353358909, 104430631 | [10 empty] | Serum Separator Tube 2- Tube Collected must be yes or no
187 | Serum Separator Tube 2- Deviation | d_703954371_d_678857215 | NA or valid | 353358909, 104430631 | [10 empty] | Serum Separator Tube 2- Deviation must be yes, no, or null
188 | Serum Separator Tube 2- Discard Flag | d_703954371_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_248868659_d_472864016 | 353358909 | [8 empty] | If BioCol_Dev_v1r0_BrokenSST2 = yes, then Serum Separator Tube 2- Discard Flag must be yes, no, or null
189 | Serum Separator Tube 2- Deviation Clot < 30min | d_703954371_d_248868659_d_102695484 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Clot < 30min must be yes, no, or null
190 | Serum Separator Tube 2- Deviation Hemolyzed | d_703954371_d_248868659_d_242307474 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Hemolyzed must be yes, no, or null
191 | Serum Separator Tube 2- Deviation Mislabeled Resolved | d_703954371_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Mislabeled Resolved must be yes, no, or null
192 | Serum Separator Tube 2- Deviation Outside Contaminated | d_703954371_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Outside Contaminated must be yes, no, or null
193 | Serum Separator Tube 2- Deviation Other | d_703954371_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Other must be yes, no, or null
194 | Serum Separator Tube 2- Deviation Broken | d_703954371_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Broken must be yes, no, or null
195 | Serum Separator Tube 2- Deviation Temperature Too Low | d_703954371_d_248868659_d_550088682 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Temperature Too Low must be yes, no, or null
196 | Serum Separator Tube 2- Deviation Centrifuge Too High | d_703954371_d_248868659_d_561005927 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Centrifuge Too High must be yes, no, or null
197 | Serum Separator Tube 2- Deviation Broken Gel | d_703954371_d_248868659_d_635875253 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Broken Gel must be yes, no, or null
198 | Serum Separator Tube 2- Deviation Centrifuge Too Long | d_703954371_d_248868659_d_654002184 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Centrifuge Too Long must be yes, no, or null
199 | Serum Separator Tube 2- Deviation Mislabeled Discard | d_703954371_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Mislabeled Discard must be yes, no, or null
200 | Serum Separator Tube 2- Deviation Temperature Too High | d_703954371_d_248868659_d_690540566 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Temperature Too High must be yes, no, or null
201 | Serum Separator Tube 2- Deviation Low Volume-(tube/container partially filled but still usable) | d_703954371_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Low Volume-(tube/container partially filled but still usable) must be yes, no, or null
202 | Serum Separator Tube 2- Deviation Leaked/Spilled | d_703954371_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Leaked/Spilled must be yes, no, or null
203 | Serum Separator Tube 2- Deviation Tube Size | d_703954371_d_248868659_d_777486216 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Tube Size must be yes, no, or null
204 | Serum Separator Tube 2- Deviation Discard | d_703954371_d_248868659_d_810960823 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Discard must be yes, no, or null
205 | Serum Separator Tube 2- Deviation Centrifuge Too Low | d_703954371_d_248868659_d_861162895 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Centrifuge Too Low must be yes, no, or null
206 | Serum Separator Tube 2- Deviation Clot > 2h | d_703954371_d_248868659_d_912088602 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Clot > 2h must be yes, no, or null
207 | Serum Separator Tube 2- Deviation Centrifuge Too Short | d_703954371_d_248868659_d_937362785 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Centrifuge Too Short must be yes, no, or null
208 | Serum Separator Tube 2- Deviation Not Found | d_703954371_d_248868659_d_982885431 | NA or crossValid1 | 353358909, 104430631 | d_703954371_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_SST2 = yes, then Serum Separator Tube 2- Deviation Not Found must be yes, no, or null
209 | Biohazard Bag BlU- Tube Collected | d_787237543_d_593843561 | valid | 353358909, 104430631 | [10 empty] | Biohazard Bag BlU- Tube Collected must be yes or no, cannot be null
210 | Heparin Tube 1- Tube Collected | d_838567176_d_593843561 | valid | 353358909, 104430631 | [10 empty] | Heparin Tube 1- Tube Collected
211 | Heparin Tube 1- Deviation | d_838567176_d_678857215 | NA or valid | 353358909, 104430631 | [10 empty] | Heparin Tube 1- Deviation must be yes no or null
212 | Heparin Tube 1- Discard Flag | d_838567176_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_248868659_d_472864016 | 353358909 | [8 empty] | If BioCol_Dev_v1r0_BrokenHT1=yes, then must be yes, no or null
213 | Heparin Tube 1- Deviation Hemolyzed | d_838567176_d_248868659_d_242307474 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
214 | Heparin Tube 1- Deviation Mislabeled Resolved | d_838567176_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
215 | Heparin Tube 1- Deviation Outside Contaminated | d_838567176_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
216 | Heparin Tube 1- Deviation Other | d_838567176_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
217 | Heparin Tube 1- Deviation Broken | d_838567176_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
218 | Heparin Tube 1- Deviation Temperature Too Low | d_838567176_d_248868659_d_550088682 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
219 | Heparin Tube 1- Deviation Mislabeled Discard | d_838567176_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
220 | Heparin Tube 1- Deviation Temperature Too High | d_838567176_d_248868659_d_690540566 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
221 | Heparin Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) | d_838567176_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
222 | Heparin Tube 1- Deviation Leaked/Spilled | d_838567176_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
223 | Heparin Tube 1- Deviation Tube Size | d_838567176_d_248868659_d_777486216 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
224 | Heparin Tube 1- Deviation Discard | d_838567176_d_248868659_d_810960823 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
225 | Heparin Tube 1- Deviation Not Found | d_838567176_d_248868659_d_982885431 | NA or crossValid1 | 353358909, 104430631 | d_838567176_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_HT1=yes, then must be yes, no or null
226 | Urine Tube 1- Tube Collected | d_973670172_d_593843561 | valid | 353358909, 104430631 | [10 empty] | Urine Tube 1- Tube Collected must be yes or no
227 | Urine Tube 1- Deviation | d_973670172_d_678857215 | NA or valid | 353358909, 104430631 | [10 empty] | Urine Tube 1- Deviation must be yes, no, or null
228 | Urine Tube 1- Discard Flag | d_973670172_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_248868659_d_472864016 | 353358909 | [8 empty] | If BioCol_Dev_v1r0_BrokenUT1=yes, then Urine Tube 1- Discard Flag must be yes, no, or null
229 | Urine Tube 1- Deviation Mislabeled Resolved | d_973670172_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Mislabeled Resolved must be yes, no, or null
230 | Urine Tube 1- Deviation Outside Contaminated | d_973670172_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Outside Contaminated must be yes, no, or null
231 | Urine Tube 1- Deviation Other | d_973670172_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Other must be yes, no, or null
232 | Urine Tube 1- Deviation Broken | d_973670172_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Broken must be yes, no, or null
233 | Urine Tube 1- Deviation Temperature Too Low | d_973670172_d_248868659_d_550088682 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Temperature Too Low must be yes, no, or null
234 | Urine Tube 1- Deviation Mislabeled Discard | d_973670172_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Mislabeled Discard must be yes, no, or null
235 | Urine Tube 1- Deviation Temperature Too High | d_973670172_d_248868659_d_690540566 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Temperature Too High must be yes, no, or null
236 | Urine Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) | d_973670172_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Low Volume-(tube/container partially filled but still usable) must be yes, no, or null
237 | Urine Tube 1- Deviation Leaked/Spilled | d_973670172_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_973670172_d_678857215 | 353358909 | [8 empty] | If BioCol_Deviation_v1r0_UT1=yes, then Urine Tube 1- Deviation Leaked/Spilled must be yes, no, or null
240 | Any clinical blood or urine sample received- Site blood | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_693370086 | 353358909 | [8 empty] | Any clinical blood or urine sample received = yes if Clinical Site Blood Sample Collected=yes
241 | Any clinical blood or urine sample received- Site urine | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_786930107 | 353358909 | [8 empty] | Any clinical blood or urine sample received = yes if Clinical Site Urine Sample Collected=yes
242 | Any clinical blood or urine sample received-Clinical Site Blood RRL | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_728696253 | 353358909 | [8 empty] | Any clinical blood or urine sample received = yes if Clinical Site Blood RRL=yes
243 | Any clinical blood or urine sample received-Clinical Site Urine RRL | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_453452655 | 353358909 | [8 empty] | Any clinical blood or urine sample received = yes if Clinical Site Urine RRL=yes
244 | Any clinical blood or urine sample received-Clinical DB Blood RRL | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_534041351 | 353358909 | [8 empty] | Any clinical blood or urine sample received = yes if Clinical DB Blood RRL=yes
245 | Any clinical blood or urine sample received- Clinical DB Urine RRL | d_173836415_d_266600170_d_156605577 | crossValid1 | 353358909 | d_173836415_d_266600170_d_210921343 | 353358909 | [8 empty] | Any clinical blood or urine sample received = yes if Clinical DB Urine RRL=yes
246 | BL Blood or Unrine Placed- Blood Placed | d_173836415_d_266600170_d_880794013 | crossValid1 | 353358909 | d_173836415_d_266600170_d_530173840 | 353358909 | [8 empty] | if Blood Placed=yes then Blood or Unrine Placed=yes
247 | BL Blood or Unrine Placed-Urine Placed | d_173836415_d_266600170_d_880794013 | crossValid1 | 353358909 | d_173836415_d_266600170_d_860477844 | 353358909 | [8 empty] | If Urine Placed=yes then Blood or Unrine Placed=yes
248 | Collection ID for Serum Separator Tube 4 Collected | d_820476880 | crossValid1 is populated |  | d_232343615_d_593843561 | 353358909 | [8 empty] | Collection ID for Serum Separator Tube 4 Collected must be populated if that tube collection flag = yes.
249 | Collection ID for Serum Separator Tube 1 Collected | d_820476880 | crossValid1 is populated |  | d_299553921_d_593843561 | 353358909 | [8 empty] | Collection ID for Serum Separator Tube 1 Collected must be populated if that tube collection flag = yes.
250 | Collection ID for Serum Separator Tube 3 Collected | d_820476880 | crossValid1 is populated |  | d_376960806_d_593843561 | 353358909 | [8 empty] | Collection ID for Serum Separator Tube 3 Collected must be populated if that tube collection flag = yes.
251 | Collection ID for EDTA Tube 1 Collected | d_820476880 | crossValid1 is populated |  | d_454453939_d_593843561 | 353358909 | [8 empty] | Collection ID for EDTA Tube 1 Collected must be populated if that tube collection flag = yes.
252 | Collection ID for Serum Separator Tube 5 Collected | d_820476880 | crossValid1 is populated |  | d_589588440_d_593843561 | 353358909 | [8 empty] | Collection ID for Serum Separator Tube 5 Collected must be populated if that tube collection flag = yes.
253 | Collection ID for EDTA Tube 2 Collected | d_820476880 | crossValid1 is populated |  | d_677469051_d_593843561 | 353358909 | [8 empty] | Collection ID for EDTA Tube 2 Collected must be populated if that tube collection flag = yes.
254 | Collection ID for EDTA Tube 3 Collected | d_820476880 | crossValid1 is populated |  | d_683613884_d_593843561 | 353358909 | [8 empty] | Collection ID for EDTA Tube 3 Collected must be populated if that tube collection flag = yes.
255 | Collection ID for Serum Separator Tube 2 Collected | d_820476880 | crossValid1 is populated |  | d_703954371_d_593843561 | 353358909 | [8 empty] | Collection ID for Serum Separator Tube 2 Collected must be populated if that tube collection flag = yes.
256 | Collection ID for Heparin Tube 1 Collected | d_820476880 | crossValid1 is populated |  | d_838567176_d_593843561 | 353358909 | [8 empty] | Collection ID for Heparin Tube 1 Collected must be populated if that tube collection flag = yes.
257 | Collection ID for Heparin Tube 2 Collected | d_820476880 | crossValid1 is populated |  | d_958646668_d_593843561 | 353358909 | [8 empty] | Collection ID for Heparin Tube 2 Collected must be populated if that tube collection flag = yes.
258 | Collection ID for ACD Tube 1 Collected | d_820476880 | crossValid1 is populated |  | d_652357376_d_593843561 | 353358909 | [8 empty] | Collection ID for ACD Tube 1 Collected must be populated if that tube collection flag = yes.
259 | Collection ID for Urine Tube 1 Collected | d_820476880 | crossValid1 is populated |  | d_973670172_d_593843561 | 353358909 | [8 empty] | Collection ID for Urine Tube 1 Collected must be populated if that tube collection flag = yes.
260 | Collection ID for Mouthwash Tube 1 Collected | d_820476880 | crossValid1 is populated |  | d_143615646_d_593843561 | 353358909 | [8 empty] | Collection ID for Mouthwash Tube 1 Collected must be populated if that tube collection flag = yes.
261 | STRECK Tube 1: ID | d_505347689_d_825582494 | crossValid1 equal to or less than char() | 14 | d_505347689_d_593843561 | 353358909 | [8 empty] | If streck tube is collected, then the STRECK Tube 1: ID must be populated with 14 characters or less
262 | STRECK Tube 1: Tube Collected | d_505347689_d_593843561 | NA or valid | 353358909, 104430631 | [10 empty] | STRECK Tube 1: Tube Collected must be yes, no, or null
263 | STRECK Tube 1: Deviation | d_505347689_d_678857215 | NA or valid | 353358909, 104430631 | [10 empty] | STRECK Tube 1: Deviation must be yes, no, or null
264 | STRECK Tube 1: Deviation Hemolyzed | d_505347689_d_248868659_d_242307474 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Hemolyzed must be yes, no, or null
265 | STRECK Tube 1: Deviation Mislabeled Resolved | d_505347689_d_248868659_d_283900611 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Mislabeled Resolved must be yes, no, or null
266 | STRECK Tube 1: Deviation Outside Contaminated | d_505347689_d_248868659_d_313097539 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Outside Contaminated must be yes, no, or null
267 | STRECK Tube 1: Deviation Other | d_505347689_d_248868659_d_453343022 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Other must be yes, no, or null
268 | STRECK Tube 1: Deviation Broken | d_505347689_d_248868659_d_472864016 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Broken must be yes, no, or null
269 | STRECK Tube 1: Deviation Temp too Low | d_505347689_d_248868659_d_550088682 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Temp too Low must be yes, no, or null
270 | STRECK Tube 1: Deviation Mislabeled Discard | d_505347689_d_248868659_d_684617815 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Mislabeled Discard must be yes, no, or null
271 | STRECK Tube 1: Deviation Temp too High | d_505347689_d_248868659_d_690540566 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Temp too High must be yes, no, or null
272 | STRECK Tube 1: Deviation Low Volume-(tube/container partially filled but still usable) | d_505347689_d_248868659_d_728366619 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Low Volume-(tube/container partially filled but still usable) must be yes, no, or null
273 | STRECK Tube 1: Deviation Leaded/Spilled | d_505347689_d_248868659_d_757246707 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Leaded/Spilled must be yes, no, or null
274 | STRECK Tube 1: Deviation Tube Size | d_505347689_d_248868659_d_777486216 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Tube Size must be yes, no, or null
275 | STRECK Tube 1: Deviation Discard | d_505347689_d_248868659_d_810960823 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Discard must be yes, no, or null
276 | STRECK Tube 1: Deviation Not Found | d_505347689_d_248868659_d_982885431 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_678857215 | 353358909 | [8 empty] | If Streck tube has been collected, then STRECK Tube 1: Deviation Not Found must be yes, no, or null
277 | STRECK Tube 1: Discard Flag | d_505347689_d_762124027 | NA or crossValid1 | 353358909, 104430631 | d_505347689_d_248868659_d_472864016 | 353358909 | [8 empty] | If BioCol_Dev_v1r0_BrokenSTRT1=yes, then Streck tube discard flag must be yes, no, or null
278 | HomeCollection: Kit Receipt Supply Kit Tracking Number KitAssembly Table | d_531858099 | crossValid1 is populated |  | d_221592017 | 375535639 | [8 empty] | IF kit status is Received, THEN supply kit tracking number should be populated. This checks the kit status of the kit assembly table
279 | HomeCollection: Kit Receipt Shipping Date Time KitAssembly Table | d_661940160 | crossValid1 is populated |  | d_221592017 | 375535639 | [8 empty] | IF kit status is Received, THEN time/date kit shipped should be populated. This checks the kit status of the kit assembly table
280 | HomeCollection: Kit Receipt Date Time Received KitAssembly Table | d_826941471 | crossValid1 is populated |  | d_221592017 | 375535639 | [8 empty] | IF kit status is Received, THEN time/date kit recieved should be populated . This checks the kit status of the kit assembly table
281 | HomeCollection: Kit Received Coll Card Missing Flag KitAssembly Table | d_137401245 | crossValid1 is populated |  | d_221592017 | 375535639 | [8 empty] | IF kit status is Received, THEN Flag to indicate if the collection card is missing should be populated. This checks the kit status of the kit assembly table
282 | HomeCollection: Assign Kit Kit Assembly Table | d_531858099 | crossValid1 is populated |  | d_221592017 | 241974920 | [8 empty] | If kit status is Assigned, then supply kit tracking number should populate. This looks at the kit status variable in the kit assembly table.
283 | HomeCollection: Kit Shipment Tracking Number Kit Assembly Table | d_531858099 | crossValid1 is populated |  | d_221592017 | 277438316 | [8 empty] | If kit status is Shipped, then supply kit tracking number should populate. This checks the kit status in the kit assembly table.
284 | HomeCollection: Kit Shipment Timestamp Kit Assmembly Table | d_661940160 | crossValid1 is populated |  | d_221592017 | 277438316 | [8 empty] | If kit status is Shipped, then date/time kit shipped should populate. This checks kit status in the kit status table.
Note on C13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: might be No or NA. Need to double Check Reply: Confirmed NA until yes
Note on E41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: CANNOT BE NULL
Note on B52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: this is an OR requirement- either d_534041351=yes OR d_210921343=yes. For now I'll write it as two different rules, but I'm not sure if it'll overwrite itself by doing this Reply: Just to make sure that we can distinguish between these two rules, I'm adding an A and a B to the label
Note on D103: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is an example where the Qctype should be changed to "NA or crossValid1" and the NA should be removed from the ValidValues column. This is true for many other similar examples below.. Reply: done!
Note on D210: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Any rules that have Qctype of "NA or valid" should not have NA in the ValidValues column. Reply: done!

## Custom Rules
QC Rule or Metric | Rational | Label | ConceptID | Qctype | ValidValues | CrossVariableConceptID1 | CrossVariableConceptID1Value | CrossVariableConceptID2 | CrossVariableConceptID2Value | CrossVariableConceptID3 | CrossVariableConceptID3Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | CrossVariableConceptID4 | CrossVariableConceptID4Value | Required | Notes from dictionary | Notes from QC process
Metric | Common request. Doesn't require R syntax as input. | KP Sent Clinical Blood accession ID KPs | d_173836415_d_266600170_d_341570479 | cutom function equals | d_646899796 | d_827220437 | 125001209, 327912200, 452412599 | [20 empty] | Accession ID sent by sites not equal to accession ID entered in dashboard, for blood (for KPGA, KPNW, KPCO)
Metric | Common request. Doesn't require R syntax as input. | KP Sent Clinical Urine accession ID KPs | d_173836415_d_266600170_d_198261154 | cutom function equals | d_928693120 | d_827220437 | 125001209, 327912200, 452412599 | [20 empty] | Accession ID sent by sites not equal to accession ID entered in dashboard, for urine (for KPGA, KPNW, KPCO)
Metric | Not common request. Requires R syntax as input. | KP Sent Clinical Blood accession ID KPHI | d_173836415_d_266600170_d_341570479 | cutom function equals | str_sub(d_646899796,1,11) | d_827220437 | 300267574 | [20 empty] | Accession ID sent by sites not equal to accession ID entered in dashboard, for blood (for KPHI ignore the last digit from the acc ID sent by site in the comparison)
Metric | Not common request. Requires R syntax as input. | KP Sent Clinical Urine accession ID KPHI | d_173836415_d_266600170_d_198261154 | cutom function equals | str_sub(d_928693120 ,1,11) | d_827220437 | 300267574 | [20 empty] | Accession ID sent by sites not equal to accession ID entered in dashboard, for blood (for KPHI ignore the last digit from the acc ID sent by site in the comparison)
Metric | Not common request. Requires R syntax as input. | (Dervied) Clinical DB Blood RRL Received | d_173836415_d_266600170_d_534041351 | crossValid10 | 104430631 | d_232343615_d_593843561 | 104430631 | d_299553921_d_593843561 | 104430631 | d_376960806_d_593843561 | 104430631 | d_454453939_d_593843561 | 104430631 | d_589588440_d_593843561 | 104430631 | d_958646668_d_593843561 | 104430631 | d_677469051_d_593843561 | 104430631 | d_683613884_d_593843561 | 104430631 | d_703954371_d_593843561 | 104430631 | d_838567176_d_593843561 | 104430631 |  |  | All individual blood tubes are Collected = No but derived variable from dashboard BioClin_DBBloodRRL_v1r0 says collected, and vice versa (this is checking the derivation of BioClin_DBBloodRRL_v1r0)
Metric | Common request. Doesn't require R syntax as input. | (Derived) Clinical Site Blood Collected | d_173836415_d_266600170_d_693370086 | crossValid10 | 104430631 | d_232343615_d_593843561 | 104430631 | d_299553921_d_593843561 | 104430631 | d_376960806_d_593843561 | 104430631 | d_454453939_d_593843561 | 104430631 | d_589588440_d_593843561 | 104430631 | d_958646668_d_593843561 | 104430631 | d_677469051_d_593843561 | 104430631 | d_683613884_d_593843561 | 104430631 | d_703954371_d_593843561 | 104430631 | d_838567176_d_593843561 | 104430631 |  |  | If all individual blood tubes say collected = No, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = no
Metric | Requires custom crossvalidation. | Date/Time first baseline blood order placed or baseline urine order placed A | d_173836415_d_266600170_d_184451682 | custom function: cross reference | as.POSIXct(ymd_hms(d_173836415_d_266600170_d_769615780)) | as.POSIXct(ymd_hms(d_173836415_d_266600170_d_769615780)) < as.POSIXct(ymd_hms(d_173836415_d_266600170_d_939818935)) | [21 empty] | date/time of baseline blood order placed OR baseline urine order placed (whichever happens first)
Metric | Requires custom crossvalidation. | Date/Time first baseline blood order placed or baseline urine order placed B | d_173836415_d_266600170_d_184451682 | custom function: cross reference | as.POSIXct(ymd_hms(d_173836415_d_266600170_d_939818935)) | as.POSIXct(ymd_hms(d_173836415_d_266600170_d_769615780)) > as.POSIXct(ymd_hms(d_173836415_d_266600170_d_939818935)) | [21 empty] | date/time of baseline blood order placed OR baseline urine order placed (whichever happens first)
Metric | Common request. Doesn't require R syntax as input. | (Dervied) Baseline blood sample collected | d_878865966 | crossValid10 | 104430631 | d_232343615_d_593843561 | 104430631 | d_299553921_d_593843561 | 104430631 | d_376960806_d_593843561 | 104430631 | d_454453939_d_593843561 | 104430631 | d_589588440_d_593843561 | 104430631 | d_958646668_d_593843561 | 104430631 | d_677469051_d_593843561 | 104430631 | d_683613884_d_593843561 | 104430631 | d_703954371_d_593843561 | 104430631 | d_838567176_d_593843561 | 104430631
Metric | Requires custom crossvalidation. | Site Clinical Urine Collected Yes | d_173836415_d_266600170_d_786930107 | custom crossValid2 | 353358909 | d_973670172_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_541311218, units="days"), digits=0) | >7 |  |  |  |  | If any individual urine tubes say collected = YES, urine collected from KP (BioClin_SiteUrineColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site Serum Separator Tube 4 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_232343615_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | SIte Serum Separator Tube 1 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_299553921_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site Serum Separator Tube 3 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_376960806_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site EDTA Tube 1 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_454453939_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site Serum Separator Tube 5 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_589588440_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site EDTA Tube 2 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_677469051_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site EDTA Tube 3 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_683613884_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site Serum Separator Tube 2 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_703954371_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site Heparin Tube 1 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_838567176_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | Site Heparin Tube 2 Collected | d_173836415_d_266600170_d_693370086 | custom crossValid2 | 353358909 | d_958646668_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >7 |  |  |  |  | If any individual blood tubes say collected = YES, blood collected from KP (BioClin_SiteBloodColl_v1r0) must = YES
Metric | Requires custom crossvalidation. | All baseline samples collected YES | d_254109640 | crossValid3 + valid after date | 353358909 | d_878865966 | 353358909 | d_167958071 | 353358909 | d_684635302 | 353358909 | d_678166505 | >=as.Date("2022-11-21") |  |  | Yes if Baseline blood (any one or more tube) OR urine both collected
Metric | Requires custom crossvalidation. | (Autogenerated) Date/time Baseline Research Blood Collected | d_173836415_d_266600170_d_561681068 | crossValid2Date + valid after date |  | d_878865966 | 353358909 | d_650516960 | 534621077 | d_678166505 | >=as.Date("2022-11-21")
Metric | Requires custom crossvalidation. | (Autogenerated) Date/time Baseline Research Urine Collected | d_173836415_d_266600170_d_847159717 | crossValid1Date + valid after date |  | d_167958071 | 353358909 | d_650516960 | 534621077 | d_678166505 | >=as.Date("2022-11-21")
Metric | Requires custom crossvalidation. | Collection Date/Time | d_678166505 | crossValid1Date + valid after date |  | d_878865966 | 353358909 | d_678166505 | >=as.Date("2022-11-21")
Metric | Requires custom crossvalidation. | Baseline Mouthwash Collected B | d_684635302 | crossValid1 + valid after date | 104430631 | d_143615646_d_593843561 | 104430631 | d_678166505 | >=as.Date("2022-11-21")
Metric | Requires custom crossvalidation. | Site Clinical_Site Urine Collected Yes | d_173836415_d_266600170_d_786930107 | crossValid2 | 353358909 | d_973670172_d_593843561 | 353358909 | d_650516960 | 664882224 | round(difftime(currentDate, d_915838974, units="days"), digits=0) | >7 |  |  |  |  | If any individual urine tubes say collected = YES, urine collected from KP (BioClin_SiteUrineColl_v1r0) must = YES
QC Rule | Common request. Doesn't require R syntax as input. | All baseline samples collected NO3 | d_254109640 | crossValid2 | 104430631 | d_684635302 | 104430631 | d_650516960 | 534621077 | [6 empty] | If there's no mouthwash per DB entry, and collection setting is research, then KP Collection should be null no No
Metric | Requires custom crossvalidation. | MW Tube 1- Date Received - Site Shipment | d_143615646_d_926457119 | crossValid1 is populated + valid after date |  | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >4
Metric | Requires custom crossvalidation. | Serum Separator Tube 1- Date Received - Site Shipment | d_299553921_d_926457119 | crossValid1 is populated + valid after date |  | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >4
Metric | Requires custom crossvalidation. | EDTA Tube 1- Date Received - Site Shipment | d_454453939_d_926457119 | crossValid1 is populated + valid after date |  | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >4
Metric | Requires custom crossvalidation. | ACD Tube 1- Date Received - Site Shipment | d_652357376_d_926457119 | crossValid1 is populated + valid after date |  | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >4
Metric | Requires custom crossvalidation. | Serum Separator Tube 2- Date Received - Site Shipment | d_703954371_d_926457119 | crossValid1 is populated + valid after date |  | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >4
Metric | Requires custom crossvalidation. | Heparin Tube 1- Date Received - Site Shipment | d_838567176_d_926457119 | crossValid1 is populated + valid after date |  | round(difftime(currentDate, d_173836415_d_266600170_d_398645039, units="days"), digits=0) | >4
Metric | Requires custom crossvalidation. | Urine Tube 1- Date Received - Site Shipment | d_973670172_d_926457119 | crossValid1 is populated + valid after date |  | round(difftime(currentDate, d_173836415_d_266600170_d_541311218, units="days"), digits=0) | >4
Metric | Requested to be tracked separetly | MW Tube 1- Reason Tube Not Collected | d_143615646_d_883732523 | crossValid2 | 234139565, 681745422, 745205161, 889386523, 181769837 | d_143615646_d_593843561 | 104430631 | d_650516960 | 534621077
Metric | Requested to be tracked separetly | Serum Separator Tube 1- Reason Tube Not Collected | d_299553921_d_883732523 | crossValid2 | 234139565, 681745422, 745205161, 889386523, 181769837 | d_299553921_d_593843561 | 104430631 | d_650516960 | 534621077
Metric | Requested to be tracked separetly | EDTA Tube 1- Reason Tube Not Collected | d_454453939_d_883732523 | crossValid2 | 234139565, 681745422, 745205161, 889386523, 181769837 | d_454453939_d_593843561 | 104430631 | d_650516960 | 534621077
Metric | Requested to be tracked separetly | ACD Tube 1- Reason Tube Not Collected | d_652357376_d_883732523 | crossValid2 | 234139565, 681745422, 745205161, 889386523, 181769837 | d_652357376_d_593843561 | 104430631 | d_650516960 | 534621077
Metric | Requested to be tracked separetly | Serum Separator Tube 2- Reason Tube Not Collected | d_703954371_d_883732523 | crossValid2 | 234139565, 681745422, 745205161, 889386523, 181769837 | d_703954371_d_593843561 | 104430631 | d_650516960 | 534621077
Metric | Requested to be tracked separetly | Heparin Tube 1- Reason Tube Not Collected | d_838567176_d_883732523 | crossValid2 | 234139565, 681745422, 745205161, 889386523, 181769837 | d_838567176_d_593843561 | 104430631 | d_650516960 | 534621077
Metric | Requested to be tracked separetly | Urine Tube 1- Reason Tube Not Collected | d_973670172_d_883732523 | crossValid2 | 234139565, 681745422, 745205161, 889386523, 181769837 | d_973670172_d_593843561 | 104430631 | d_650516960 | 534621077
Metric | Requested as a report/table | KP Sent Clinical Blood accession ID KPs | d_173836415_d_266600170_d_341570479 | crossvalid match cid values | d_646899796 | d_827220437 | 125001209, 327912200, 452412599 | [8 empty] | Accession ID sent by sites not equal to accession ID entered in dashboard, for blood (for KPGA, KPNW, KPCO)
Metric | Requested as a report/table | KP Sent Clinical Urine accession ID KPs | d_173836415_d_266600170_d_198261154 | crossvalid match cid values | d_928693120 | d_827220437 | 125001209, 327912200, 452412599 | [8 empty] | Accession ID sent by sites not equal to accession ID entered in dashboard, for urine (for KPGA, KPNW, KPCO)
| Involed variable!=response | Blood Order Placed Yes | d_173836415_d_266600170_d_530173840 | crossValid1 | 353358909 | d_173836415_d_266600170_d_693370086 | 353358909 | d_827220437 | !=531629870 | [18 empty] | Blood sample collected with no blood order placed (blood order null or no)
| Involed variable!=response | Urine Order Placed Yes | d_173836415_d_266600170_d_860477844 | crossValid1 | 353358909 | d_173836415_d_266600170_d_786930107 | 353358909 | d_827220437 | !=531629870 | [18 empty] | Urine sample collected with no urine order placed (urine order null or no)
| Involed variable!=response | Date/Time Blood Order Placed | d_173836415_d_266600170_d_769615780 | crossValid1Date |  | d_173836415_d_266600170_d_530173840 | 353358909 | d_827220437 | !=531629870
| Involed variable!=response | Blood Order Based if Date/Time Blood Order Placed populated | d_173836415_d_266600170_d_530173840 | crossvalid1 | 353358909 | d_173836415_d_266600170_d_769615780 | is not null | d_827220437 | !=531629870
| Involed variable!=response | Date/Time Urine Order Placed | d_173836415_d_266600170_d_939818935 | crossValid1Date |  | d_173836415_d_266600170_d_860477844 | 353358909 | d_827220437 | !=531629870
| Involed variable!=response | Urine Order Based if Date/Time Urine Order Placed populated | d_173836415_d_266600170_d_860477844 | crossvalid1 | 353358909 | d_173836415_d_266600170_d_939818935 | is not null | d_827220437 | !=531629870
|  | Kit Assembly Cup ID | d_690210658 | Custom | d_194252513 | d_173836415_d_266600170_d_8583443674_d_379252329 | 976461859 | [20 empty] | If kit type is Mouthwash, then supply kit ID should be equal to return kit ID
|  | Kit Assembly Collection iD | d_259846815 | Custom | d_786397882 | d_173836415_d_266600170_d_8583443674_d_379252329 | 976461859 | [20 empty] | If kit type is Mouthwash, then collection cup ID should be equal to collection card ID
|  |  | d_143615646_d_825582494 | Custom | d_259846815 | d_173836415_d_266600170_d_8583443674_d_221592017 | 375535639 | d_173836415_d_266600170_d_8583443674_d_379252329 | 976461859 | [18 empty] | IF BioKit_KitStatus_v1r0 from the particpants table (221592017) = 4 AND BioKit_KitType_v1r0 (379252329) = 0, THEN MWTube1_BioCol_TubeID_v1r0 (d_143615646_d_825582494) = BioKit_MWCupID_v1r0 (259846815)
|  |  | d_143615646_d_825582494 | Custom | d_259846815 | d_221592017 | 375535639 | d_173836415_d_266600170_d_8583443674_d_379252329 | 976461859 | [18 empty] | IF BioKit_KitStatus_v1r0 from the kit assembly table (221592017) = 4 AND BioKit_KitType_v1r0 (379252329) = 0, THEN MWTube1_BioCol_TubeID_v1r0 (d_143615646_d_825582494) = BioKit_MWCupID_v1r0 (259846815)
|  | HomeCollection: Kit status pending | d_341636034 | crossValid1 is populated |  | d_173836415_d_266600170_d_8583443674_d_221592017 | 517216441
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Value of concept ID must equal value of ValidValues
Note on F4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Only use first 11 characters of string Reply: str_sub(cid, 1, 11)
Note on D27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: might be no or NA. Need to double check Reply: Confirmed with Michelle these are null until yes, instead of no
Note on C29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These one's need Qctypes Reply: done